LABORATORY DEPARTMENT

General Hospital, Bharuch.

Inter Lab Comparison Report of Laboratory Department  &

Government Medical College, Surat.

BIOCHEMISTRY  TESTS

| Lab no | Date | MRD No | Result of GHB test | Result of GMCS | Result of GHB | Result of GMCS | Result of GHB | Result of GMCS | Result of GHB | Result of GMCS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ALKALINE PHOSPHATASE |  | SGPT |  | AMYLASE |  | DIRECT BILIRUBIN |  |
| 1 | 14/2/2020 | 16560 | 176 | 182 | 31.3 | 29.0 | 140.1 | 138.0 | 0.4 | 0.2 |
| 2 | 14/2/2020 | 16423 | 86 | 91 | 19.9 | 20.0 | 66.3 | 60.0 | 0.2 | 0.2 |
| 3 | 14/2/2020 | 15526 | 50 | 53 | 49.5 | 36.0 | 60.6 | 59.0 | 0.8 | 0.7 |
| 4 | 14/2/2020 | 16659 | 62.2 | 64 | 12.5 | 15 | 136 | 143 | 0.3 | 0.2 |
| 5 | 14/2/2020 | 16760 | 49.2 | 54 | 13.4 | 16 | 46.2 | 53 | 0.6 | 0.4 |

Comment- All results are concordant

LAB  DIRECTOR

LABORATORY DEPARTMENT

GENERAL HOSPITAL BHARUCH

Inter Lab Comparison Report of Laboratory Department G H BHARUCH & GUNJAN LAB LLP.

Test  SGOT AND LIPASE

| Lab no | Date | MRD No | Result of General Hospital,Bharuch | Result of Gunjan Lab LLP | Result of General Hospital,Bharuch | Result of Gunjan Lab LLP |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | SGOT | SGOT | LIPASE | LIPASE |
| 9 | 21/02/2020 | 3314 | 30 | 15 | 48 | 39 |
| 10 | 21/02/2020 | 176725 | 29 | 18 | 44 | 31 |
| 11 | 21/02/2020 | NA | 36 | 26 | 37 | 34 |

Comment- All results are concordant

LAB  DIRECTOR

LABORATORY DEPARTMENT

GENERAL HOSPITAL BHARUCH