ILC report comparision

Date of sending sample- 18/02/2020

Date of analysis-18/02/2020

Date result review-19/02/2020

| Parameter | Ref lab result (GC Paldi) | GC Sola result | Comment |
| --- | --- | --- | --- |
| Calcium | 9.8 | 9.6 | Satisfactory |
| Phosphorus | 3.5 | 3.6 | Satisfactory |
| ESR | 1 hr- 10, 2 hr- 19 | 1 hr-12, 2 hr- 20 | Satisfactory |
| PT | 14.1 | 15.4 | Satisfactory |
| APTT | 30.5 | 29.8 | Satisfactory |
| UPT | Negative | Negative | Satisfactory |
| Urine Microscopy | Pus cell- 25-30 RBC- 1-2 Cast –Absent Epi – 6-8 Crystal-Absent | Pus cell- 20-22 RBC- 2-3 Cast –Absent Epi – 4-5 Crystal-Absent | Satisfactory |
| Stool Microscopy | Ova-Absent Cyst-Absent Pus cells-Absent Rbc-Absent Hanging drop-negative | Ova-Absent Cyst-Absent Pus cells-Absent Rbc-Absent Hanging drop-negative | Satisfactory |
| Stool occult blood | Negative | Negative | Satisfactory |
| Body fluid-Ascitic | TC-120 Poly-10 Lympho-90 Malignant cells- Negative | TC-110 Poly-08 Lympho-92 Malignant cells- Negative | Satisfactory |
| HIV abs rapid | Non reactive | Non reactive | Satisfactory |
| HbsAg | Non reactive | Non reactive | Satisfactory |
| VDRL | Non reactive | Non reactive | Satisfactory |
| Sputum AFB | Negative | Negative | Satisfactory |